The corrosion profession, and the certified professionals who work in the industry, are committed to protecting people, assets and the environment from the effects of corrosion. Those tasked with delivering the technical expertise to society must conduct their work with the knowledge and understanding of the ethical principles expected and required of those professionals.

Corrosion in power plants/ Industries can be controlled by applying the knowledge, methods, standards and materials, based on corrosion engineering and technology.

Efficient maintenance and Ethical corrosion control in a power plant/ Industries and other sites   are based on the following:

- Operation according to mechanical and thermal regime, indicated by the designer and builder of the plant

2- Correct treatment of fuel, water and steam.

- Chemical cleaning of the surfaces in contact with water and steam, using acidic solutions containing corrosion inhibitors, passivating ammoniacal solutions.

- Mechanical cleaning of surfaces covered with deposits using alkaline solutions and water under pressure.

- The installation of online monitoring of corrosion in critical plant areas will be one of the most effective actions to control corrosion. In addition, it is recommended to  use corrosion expert system software and materials databases for the analysis of the materials corrosion behavior.

- mixtures of corrosion inhibitors have been produced to control the problem of corrosion in automobile cooling systems.

- The characteristics of the insulation, which have a greater influence on the corrosion processes deposits, are the ability to absorb water and chemical contribution to the aqueous phase. The polyurethane foam insulation is one of the most widely used.

due to water absorption present. The coatings of glass fiber or asbestos can be used in these conditions,

- Seven factors can be controlled on the ground, to prevent this type of corrosion: design of equipment, operating temperature, selection of the insulation, protective coatings and paints, physical barriers from the elements, climate and maintenance practices of the facility. Any change in any of these factors may provide the necessary conditions for the corrosion process to take place

- prevent corrosion of pipes,  PVC pipes for drinking water, replacing the metal, as a preventive measure.

- Hardness	Source of scaling that promotes corrosion, pH corrosion depends on its value,  Sulphates	Produces scaling, Chloride	Increases water corrosivity, Silica Generates scaling in hot water. Condensers and steam turbines, Total Dissolved Solids (TDS)	Increases electrical conductivity and corrositivity. Elevated temperatures increases corrosion rates Contaminants, such as polycyclic aromatic organic compounds, include what is known as volatile organic compounds such as naphthalene, anthracene and benzopyrene.